STRUCTURAL INSPECTION

Date:
September 14, 2005

Type:
Residential

For:
Dr. Francisco and Rebecca Candal

1201 Williamsburg Drive

Slidell, La. 70461

RE:
Post-Hurricane Katrina Structural Inspection

History:

Dr. Candal contacted Dammon Engineering to perform a structural inspection on the roof of his residence following Hurricane Katrina.  The home is approximately 10 years old.  It is a two-story wood frame construction on a concrete foundation with stucco veneer.  Dr. Candal reported that the home suffered flood damage during hurricane Katrina.

Findings:

Upon inspection, it was noted that there are several concrete roof tiles and sheets of metal roofing that are completely missing.  Many of the concrete roof tiles were found to be in good shape, but looking closely, hairline cracks were found in many tiles.

Analysis:

The existing roof tiles, metal roofing and all flashing should be removed. Once this is complete, new roofing should be installed with flashing and any repairs made to the veneer that was removed or damaged to complete this repair.
Conclusion:

It is my professional opinion that once a new roof is installed per manufacturer’s recommendations it will be structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


