554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

September 21, 2021

Mr. Joe France

Building Safety Permits

P.O. Box 828

Slidell, La. 70459

Re:

Alicia Neely

1762 McArthur

Slidell, La. 70460

Dear Mr. France

Alicia Neely requested that Dammon Engineering inspect the concrete foundation located at the referenced location. Alicia Neely has indicated the types of materials used in the construction of the 18’ x 18’x 4” thick concrete foundation with 12”grade beams.  She requested that I provide you with the following affidavit.

It is my professional opinion that the concrete foundation was designed and constructed to meet the requirements of the 2015 IRC, and is structurally sufficient for the use intended of an enclosed area. This new enclosed area will be tied into the existing home with the wood framed walls.

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Residential Code, 2015 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187