554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

# Structural Inspection

April 26, 2013

For: 	Mr. Robert H. Bogdan

116 Grand Island Road

Belle Chase La. 70037

Re: 	204 Bryan St.

Slidell, La.

Construction:

Double wide mobile home, Single-story, vinyl siding veneer, with carpet and vinyl flooring.

Scope:

This inspection is limited to a visual inspection of the shell of the mobile home, including the interior and exterior. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Barry Weinstien with Century 21 Investment Realty contacted Dammon Engineering to request a structural inspection of the referenced home due to concerns from a home inspection report noting termites.

Findings:

Upon inspection, it was noted around the windows in the living room to have had previous termite activity. Also the hall bathroom floor was noted to have had previous termite activity. There are no signs of active termites at the time of this inspection.

Conclusion:

It is my opinion that the structural integrity of this mobile home is currently sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.