DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Tuesday, June 05, 2007

Ms. Denise Jobe, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana  70471

Re:

Mr. & Mrs. Mike Gannon

17205 St. Gertrude Drive

Covington, LA 70433

Phone: 985-640-3748

Dear Ms. Jobe,

Mr. Gannon requested that I inspect the concrete foundation located at the referenced location. Mr. Gannon has documentation and records indicating the types of materials used in the construction of the concrete foundation.  He requested that I provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed to meet the requirements of the 2006 IBC, and is structurally sufficient for the use intended.  The slab is being used to construct a new residence.  

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Building Code, 2006 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

