Kevin Johnson fax 898-2785

# October 26, 2015

Lucy Hamilton

2053 E. Gause Blvd.

Slidell, La. 70461

RE:	Home Foundation

54262 Apple Pie Ridge

Slidell, La.

Lucy Hamilton asked that I inspect an existing foundation that previously had a home on it. The Hamilton’s are planning to build an approximately 20’ x 30’ wood frame building on it to house the new business they are opening.

The Architect that is designing the new building asked to get an opinion on the structural integrity of the foundation for this new building that will be constructed on it.

The foundation was constructed with an 18” brick ledge for a wood frame structure that is no longer there.

As long as the new structure is sitting on the edges of the foundation and on a footing it will support the new building properly.

This report does not cover any other aspects of the building such as, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc.

Sincerely,

Brian Mistich