554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

March 8, 2021

For: 	Chamale Woods Condo Association

P.O. Box 6146

Slidell, La. 70469

Ref:     213 – 215 Plimsol Ct.

Slidell La. 70460

Construction:

Two-story, wood frame, vinyl veneer, with a composition shingle roof.

Scope:

This inspection is limited to a visual inspection of the shell of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the referenced home due to a tree that fell on the roof and damaged the roof trusses.

Findings:

An overall visual inspection of the attics interior of the home was conducted and noted that new roof trusses have been built and replaced where the tree had damaged the existing roof trusses. Also noted that the sheet rock for the one hour partition wall has been built and in place.

Conclusion:

It is my opinion that the structural integrity of the roof for this home is currently sound and approved to close up.

Sincerely,

Brian Mistich, P.E.