554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

February 26, 2016

For: 	Brigid Deloach

5531 Sandlewood Ct.

Slidell, La 70460

Construction:

Single-story, wood frame on a conventional foundation.

Scope:

This inspection is limited to a visual inspection of the client's areas of concern - mainly the roof trusses.

History:

Brigid Deloach contacted Dammon Engineering to request a structural inspection of the residence after the home inspection report noted that one of the trusses were broken in the attic.

Findings:

The roof is built with trusses @ 24”O.C. one of the roof truss in the rear of the home was cracked and has since been repaired by a contractor. The contractor installed bracing on either side of the broken truss and is equally strong now.

It is my opinion that this truss is currently structurally sound.

Sincerely,

Brian A Mistich, P.E.