[image: image1.jpg]THOMAS M. SMITH, P.E.
Consulting Engineer
6516 Boutall Street
Metairie, Louisiana 70003
504-887-3882 504-836-2155

June 16, 2008

Mark and Jeannine Adam
120 Northshore Circle, Apt. G
Slidell, Louisiana 70458

RE:  Raised House
109 Jane Drive
Bayou Liberty, Louisiana 70$4¢

Dear Mark and Jeannine:

As the engineer who designed the additional floor slab support system let me assure you and any
other interested parties that the foundation for the above referenced house is stable and
structurally sound.

The additional slab supports were required because the slab reinforcing was not ncarnlhe center
of the slab and therefore. under FEMA regulations, the slab had to be assumed to bé}\reinfhrccd
and required additional steel beams.

¥iwehen

The main foundation was stable as installed by ¥tekren, the shoring contractor. Only the slab
between grade beams needed additional supports.

The slab was out of level in one area and it was left this way so as not to damage the slab and
structure above, i.e. it was built that way.

I'his house is in an area that is not subject to ground settlement and it has not settled or moved
since it was raised in 2001. This can be proved by inspection of the slab on ground for evidence
of settlement cracks. If there are not cracks there has been no setilement.

[ trust this letter will assure you that the house foundation is stable and structurally sound. If you
have any questions in this matter please contact me..

Kirs
s,

With best regards,

homas M. Smith, P.E.. d

4/2{_06





