Reinspection 

March 14, 2008

For:
Pro Builders

2264 7th street

Mandeville, LA 70471

Location:
35244 Jackson Street

Slidell, LA 704460

Purpose:

After completing repairs to the residence following a small fire as recommended in our initial inspection report, the owner noticed a small charred area on an overhead 2x4 that concerned him.  He requested the contractor to replace the burned area.  There was a disagreement between the contractor and owner.  At that time the owner requested a reinspection to resolve the issue.

Findings:

As can be noted in the photos, there is a small area of charred wood on one end of a 2x4.  It does not affect the structural integrity, and would be covered when sheetrock is installed in this area.  

Recommendations:

I suggested that the contractor remove the short section of 2x4 and cut the 2x4 with the charred end back approximately 2 feet and install a new section to replace the removed section.  Then remove the 2x4 that was pieced with the short section and replace with one section of 2x4.  This should satisfy the owner, and be of small expense to the contractor.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

