DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70458                                              FAX 985-641-5950\

STRUCTURAL INSPECTION

August 11, 2008

Location:
35285 Jackson Street

Slidell, LA  

Construction:
One story brick veneer, composition shingle roof, concrete foundation

Scope:

Rick Hess contacted Dammon Engineering to conduct a Structural Inspection of the above named property.  This inspection is limited to a visual inspection of the interior and exterior walls, ceilings floors, roof, and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Buildings Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

Findings:

The residence is gutted.  All interior walls remain, but with sheetrock completely removed except small areas above the four foot line.  There is no apparent structural damage to the interior walls.  The exterior brick is in good condition; the roof is new.

This inspection covered visible components, foundation, wall and roof framing.

Description




Problem areas
1.  Number of levels



One

2.  Interior gutted




Yes

3.  Debris cleaned




Yes

4.  Floor framing




Not applicable

5.  Roof framing




Good

6.  Wall framing




Good

7.  Rot or termite damage



None found

8.  Is structure elevated



No

9.  Signs of structural distress or damage

No

10. Signs of failure or deterioration of foundation
No

Conclusion:

There is a reasonable assumption of “structural soundness” of the original design, which was constructed using accepted, conventional materials and methods.  It is my professional opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

