Friday, April 20, 2007

Addendum to Hart inspection report.

Upon reviewing our report dated April 19, 2007 Mr. Hart called our attention to several items we apparently overlooked, or were unaware of.

All widows and exterior doors on the first floor are to be replaced.  This has not been done.  The front entrance door that is installed is not the door selected by Mr. Hall, and is to be replaced with the correct door.

Windows scheduled to be replaced on the first level have not been replaced,  but are on the contract to be replaced.

Several of the interior doors have dents and/or scratches and are not acceptable and should be replaced. 

New door hardware should be replaced on interior and exterior doors.

 A cook top vent is to be installed

Install the microwave

