DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

September 12, 2006

STRUCTURAL INSPECTION

Pilings

For:

Joy Dupre



504-701-2380

Location:
3024 North Palm Dr.



Slidell, Louisiana  70458

History

Mrs. Dupre called Dammon Engineering to inspect the pilings driven on the referenced property.  She was concerned that the pilings are driven out of plumb and one pile is fractured.  She stated that Tassin Pile Driving installed the piles in May of 2006 and Affordable Homes is the contractor. 

Findings

A visual inspection of the property revealed the following:

1. The piles are 8 inch in diameter approximately 12’ above the ground.

2. The piles are spaced approximately every 8’.

3. One of the piling is splintered approximately 36” from the top.

4. Most pilings are within a correctable range.

5. Two piles are 18” to 20” out of plumb.

Analysis

The pile that is splintered is not harmed in its structural integrity.

All pilings appear to be correctable by a qualified contractor.   The pilings that are driven at an angle will require special attention by the contractor.  These pilings are at risk for breakage.

I highly recommended you seek out the qualified contractor of your choice to perform this work  

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

