Southern Confort Loungr Water Supply

2209 Gause Blvd. East

Slidell, LA 70461

St. Tammany Parish

Attention Reviewer,

Submitted for your approval:

- Water supply disinfection facility, Stenner  Model 45 MHP-10 Chemical injection Unit

- 12 Gallon Chemical Storage Tank  (5 ½ % Sodium Hypochlorite Solution)

- 50 Gallon Hydropneumatic Storage Tank

- ½ HP Everbilt Well Jet Pump with associated SDR 26 PVC Piping

The Chlorine injection point shall be after the check valve but before the storage tank.  Chlorine residuals shall be monitored using a Hach Free Chlorine Test Kit, Model CN 66F Test Kit.

Respectfully,

Brian A. Mistich, P.E.

Dammon Engineering

554 Old Spanish Trail

Slidell, LA 70458

985-649-5832