PLATFORM CRANE

JOB 1898

THINGS TO DO STILL (9/20/07):

COVERSHEET – FINISH UP IBC STUFF

C-1 – WAITING ON NEW SURVEY???

C-2 – FINISH UP PLACING BUILDING & CORRECT PARKING AREA

C-3 –   “

C-4 -    “

C-5 -    “

C-6 – OK

S-1 – WAITING ON METAL BUILDING PEOPLE FOR COLUMN PLACEMENT

A-1 – NEED FINISH FLOOR SCHEDULE

A-2 – OK

A-3 – CREATE SECTION & DETAILS; WAITING ON METAL BUILDING PEOPLE FOR COLUMN PLACEMENT

A-4 – OK

H-1 & H-2 – OK

M-1 – OK

M-2 – OK

M-3 – OK

M-4 – OK

E-1 – OK

E-2 – OK

E-3 – OK

E-4 – OK

E-5 – NEED ELECTRICAL ONE LINE

P-1 – FINISH UP PLUMBING

P-2 – NEED TO CORRECT RISER

