7-29-09 Visited Michael O’Brien at his office 8:30 am.

Michael had multiple complaints about the building:

1. The metal roof over the office is leaking.  The roofer stated to Michael that this portion of the roof should have been shingle and not metal roof.  The roofer also stated that the water appears to be coming in through the ridge vent.

2. There are too many warehouse lights for a warehouse this size.

3. His electric bill is too high and they should not have upgraded to the High Voltage.

4. The doors between the office building and the warehouse did not have weather stripping on them and the prints did not show weather stripping.

5. The slab has substantial change in elevations requiring shims to level things.

6. There are too many 220-volt outlets in the warehouse.

7. He didn’t think he needed exterior lights in the parking lot no one else does.

8. He didn’t think that mucking out the property is part of the construction costs because the prints did not indicate to muck out, find this on S-1 lower left of page.  He also upgraded to more expensive clay and elevated the building higher than on the plans.

9. The parish would not give him an occupancy permit until he upgraded his planting. Parish claims that they had sent us a letter requiring the upgrades.  The plants were already installed and Michael had to have it redone.  Michael also compares it to other properties around.

10. The metal siding for the exhaust fan was centered over a column.  Michael had to pay for the moving the fan and repairing the incorrect hole.

11. The original contract with us cost too much.  If Michael had reviewed it he would have never agreed.  All of the contractors that he works with says it is inflated.

