STATE OF LOUISIANA
Department of Public Safety and Corrections
Office of State Fire Marshal Code Enforcement and Building Safety
8181 Independence Boulevard
Baton Rouge, Louisiana  70806
225-925-4920

HENRY H. FRY
DEPUTY ASSISTANT SECRETARY

SHELL ONLY

EDWARD GREMILLION, P E, C E
DAMMON ENGINEERING, INC
1095 FLORIDA AVE
SLIDELL, LA  70458-0000	RE:  P0305709
WAREHOUSE-SHELL-BOB MAURIN
AIRPORT RD
HAMMOND, LA  70404-0000

NFPA 101, 2003

STORAGE

Dear Applicant:

This is to advise that we have reviewed the drawings and specifications for the subject proposed construction and have determined that they appear to satisfactorily comply with the adopted laws, codes, rules and regulations of The State Fire Marshal subject to the following requirements:

1.	NOTE: This review is for shell only as requested until completion of drawings for final submittal, as there is not sufficient information for final review.  Construction may commence at your own risk and any revisions required for compliance with code (including any work in place) shall be the responsibility of the Owner and/or Architect, if applicable. 

2.	NOTE: Please enclose a copy of this letter with future submittals or other correspondence pertaining to this project. 

Changes to construction in the field which are not consistent with the reviewed documents are not authorized unless reviewed by this office for compliance with Code.  Modifications to reviewed plans must be submitted to this office by the Architect/Civil Engineer for review prior to final inspection.  If an Architect or Civil Engineer is not required by RS 37:155, revisions shall be submitted by the Owner.  Submittals shall include plans, completed application, a minimum $55.00 review fee, and a copy of the most current plan review letter.

This review shall in no way permit and/or authorize any omissions or deviations from the specific requirements of the adopted codes, rules and regulations in accordance with R.S. 40:1574.1(B).

This review is valid for 180 days from the date of this letter.  Construction permits must be issued and/or construction must commence within this time period.

This office requires certification of the completed project in accordance with the approved documents (certificate enclosed).

Before occupancy of any space, final drawings and specifications shall be submitted to and reviewed by this office.  Occupancy shall not be permitted until a signed CERTIFICATE OF COMPLETION is received and a satisfactory inspection of the completed construction has been made by this office.

To arrange for inspection of the project, please contact the District Office at the phone number below two (2) to three (3) weeks in advance.  The plans stamped reviewed by this office must be available on job site at time of inspection.  Certificate of completion must be provided to the inspecting Deputy for final inspection.

REVIEWED BY:
JOHN LAUDUN
ARCHITECT

CC:
Jamestown Inc
Alyson Lapuma*
Hammond Fire Prevention Bureau*
Hammond Building Inspector*
Baton Rouge District*     2259253650