## Trim Package
Subcontractor's Scope of Work
14074 - Springs at Fremaux Town Center
Trim Package
Contact:
Phone:
Email/Fax:
Company:
Item | Description | Clubhouse | Building Type B20 | Building Type G24 | Maint, Mail, Carwash, Dumpster | Garage - 6-Bay | Garages - 12-Bay
Please indicate 'Yes', 'No', 'N/A', or 'See Adjustment' in the appropriate blank.
1 | What is the date of the proposal?
2 | Proposal is per the construction drawings dated - 07/07/2014?
3 | Proposal is per the project specifications dated - xx/xx/xx? | N/A | N/A | N/A | N/A | N/A | N/A
4 | Include the correct number of units - 296? | N/A |  |  | N/A | N/A | N/A
5 | Include the correct number of Building Type B20 - 10? | N/A |  |  | N/A | N/A | N/A
6 | Include the correct number of Building Type G24 - 4? | N/A |  |  | N/A | N/A | N/A
7 | Include the Clubhouse? |  | N/A | N/A | N/A | N/A | N/A
8 | Include the correct number of Garage Type 6G - 1? | N/A | N/A | N/A | N/A |  | N/A
9 | Include the correct number of Garage Type 12G - 1? | N/A | N/A | N/A | N/A | N/A
10 | Include the correct number of mail kiosks - 1? | N/A | N/A | N/A |  | N/A | N/A
11 | Include the correct number of maintenance buildings - 1? | N/A | N/A | N/A |  | N/A | N/A
12 | Include the correct number of trash enclosures - 1? | N/A | N/A | N/A | N/A | N/A | N/A
13 | Include the correct number of recycle enclosures - 1? | N/A | N/A | N/A | N/A | N/A | N/A
14 | Include shop drawings and/or submittals as required?
15 | Include mockup? | N/A | N/A | N/A | N/A | N/A | N/A
16 | Include all necessary material, labor, and equipment?
17 | Include layout for your scope of work?
18 | Include daily cleanup for your scope of work (dumpsters provided by GC)?
19 | Include all necessary equipment such as pumps, lifts, cranes, scaffolding, etc. for your scope of work?
20 | Include Davis Bacon wages and certified payroll (required for HUD projects)? | N/A | N/A | N/A | N/A | N/A | N/A
21 | Are currently licensed in state where project occurs?
22 | Have you included a $3 million combined general liability and excess liability insurance policy (each occurrence plus excess liability)?
23 | Include sales tax at specified rate - 8.75%?
24 | Material prices are good through the duration of the project without escalation? Start date is 10/02/2014
25 | Has your company completed a Doster prequalification form within the last 6 months?
26 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 01, issued 7/23/2014 on the Isqft website ?
27 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 02, issued 7/25/2014 on the Isqft website ?
28 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 03, issued 7/28/2014 on the Isqft website ?
29 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 04, issued 7/29/2014 on the Isqft website ?
30 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 05, issued 7/30/2014 on the Isqft website ?
31 | What is your bond rate?
Units - Doors
1 | Include doors as scheduled on Sheet A6.01? | N/A |  |  | N/A | N/A | N/A
2 | Include unit entry doors (U01) as specified - 3068, 6-panel metal insulated door with wood frame? | N/A |  |  | N/A | N/A | N/A
3 | Include garage entry doors (U02) as specified - 2-panel, metal insulated, 45-minute door with metal frame? | N/A |  |  | N/A | N/A | N/A
4 | Include balcony doors (U12) as specified - 8-lite metal insulated door with 12" transom and wood frame? | N/A |  |  | N/A | N/A | N/A
5 | Include Low-E, impact glazing at all exterior door locations where applicable? | N/A |  |  | N/A | N/A | N/A
6 | Include ADA thresholds at 1st level doors?
7 | Include adjustable thresholds at 2nd level doors?
8 | Include all interior doors as specified - 2-panel hollow-core, 6'-8" high doors? | N/A |  |  | N/A | N/A | N/A
9 | Include attic access doors as specified - 22"x36" lockable? | N/A |  |  | N/A | N/A | N/A
10 | Include draftstop doors as specified - 22"x36" lockable? | N/A |  |  | N/A | N/A | N/A
11 | Include fire closet doors (U13) as specified - 6-panel, metal insulated with wood frame? | N/A |  |  | N/A | N/A | N/A
Units - Trim
12 | Include all interior trim - base, casing, shoe mold (hard surface areas)? | N/A |  |  | N/A | N/A | N/A
13 | Include base, casing and common base profile as Colonial Style per RFI-010?
14 | Include base as 3-1/2" preprimed? | N/A |  |  | N/A | N/A | N/A
15 | Include door casing as 2-1/2" preprimed? | N/A |  |  | N/A | N/A | N/A
16 | Include the trim material as specified - finger jointed? | N/A |  |  | N/A | N/A | N/A
17 | Include wood caps where indicated - 90" unit walls and stair half-walls? | N/A |  |  | N/A | N/A | N/A
18 | Include 656 OGEE upside down each side of 1/2 wall at top of stairs? Refer to detail 5/A5.28
19 | Include corner guard protection trim moulding at half-walls at top of stairs? Refer to Note #32 on Unit Plans | N/A |  |  | N/A | N/A | N/A
20 | Include trim moulding at studio counter overhangs Units S1 & SO? Refer to detail 15/A5.52
21 | Include wood casing around mirrors in Building #4 only? Refer to finish schedule notes | N/A |  |  | N/A | N/A | N/A
22 | Include wood handrail and brackets at all stairs? | N/A |  |  | N/A | N/A | N/A
23 | Include built-in wood shelving at stairs at Units 1GC and 2DC as per Exhibit D? | N/A |  |  | N/A | N/A | N/A
Units - Hardware
24 | Include door hardware as scheduled? Nickel finish, knob. Refer to Exhibit D. | N/A |  |  | N/A | N/A | N/A
25 | Include lever hardware at HC units? | N/A |  |  | N/A | N/A | N/A
26 | Include entry hardware as privacy lever with deadbolt? | N/A |  |  | N/A | N/A | N/A
27 | Include wall stops as wall stops or hinge stops? | N/A |  |  | N/A | N/A | N/A
28 | Units - Toilet Accessories
29 | Include grab bars at HC units? Refer to unit plans/elevations for sizes and locations | N/A |  |  | N/A | N/A | N/A
30 | Include toilet paper holders? | N/A |  |  | N/A | N/A | N/A
31 | Include soap dishes? Refer to Note #8 on Unit Plans | N/A |  |  | N/A | N/A | N/A
32 | Include 24" towel bars? | N/A |  |  | N/A | N/A | N/A
33 | Include curved shower curtain rods? | N/A |  |  | N/A | N/A | N/A
Units - Glass and Glazing
34 | Include unframed mirrors? Refer to unit elevations for sizes. Note Building #4 to have smaller sizes. | N/A |  |  | N/A | N/A | N/A
35 | Exclude casing at Building #4 mirrors (to be field applied by trim labor subcontractor? | N/A |  |  | N/A | N/A | N/A
Units - Shelving
36 | Include closet shelving and rods where indicated on the Unit Plans? Refer to Note #4 under General Notes. | N/A |  |  | N/A | N/A | N/A
Units - Fire Protection Specialties
37 | Include #2.5 fire extinguishers as specified in units? Refer to Note #27 on Unit Plans | N/A |  |  | N/A | N/A | N/A
38 | Include fire extinguishers with cabinets in corridors? (if required) | N/A |  |  | N/A | N/A | N/A
Clubhouse/Amenities - Doors
1 | Include Clubhouse/Amenity doors as scheduled? |  | N/A | N/A |  | N/A | N/A
2 | Include exterior doors as specified - 8'-0" high, insulated metal? |  | N/A | N/A |  | N/A | N/A
3 | Include Low-E, impact glazing at all exterior door locations where applicable? |  | N/A | N/A |  | N/A | N/A
4 | Include glazing/sidelights at Clubhouse doors as scheduled? |  | N/A | N/A |  | N/A | N/A
5 | Include interior doors as specified - 2-panel, hollow-core? |  | N/A | N/A |  | N/A | N/A
6 | Include attic access doors as specified - 22"x36" lockable? |  | N/A | N/A
7 | Include maintenance exterior door (M01) as specified - 2-panel, metal insulated with wood frame? |  | N/A | N/A |  | N/A | N/A
8 | Include maintenance exterior door (M02) as specified - 6-panel, hollow-core with wood frame? |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenities - Trim
9 | Include interior trim - base, casing, shoemold, stool, apron, crown? |  | N/A | N/A |  | N/A | N/A
10 | Include base as 6" preprimed, finger-jointed? |  | N/A | N/A |  | N/A | N/A
11 | Include casing as 2-1/2" preprimed MDF? |  | N/A | N/A |  | N/A | N/A
12 | Include 9" crown moulding at Vestibule, Multi-Purpose Room, Yoga, Fitness, and Kitchen? |  | N/A | N/A |  | N/A | N/A
13 | Include wood cap and inverted base at toilet partitions? Refer to 2 & 4/A4.C.1 |  | N/A | N/A |  | N/A | N/A
14 | Include 4'x8' plywood backer board at IT room east wall as per Note #13 on A1.C.11? |  | N/A | N/A |  | N/A | N/A
15 | Include five (5) 18" shelves at Janitor per Note #14 on A1.C.1? Refer to 24/A4.1.C.1 |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenity - Hardware
16 | Include door hardware as scheduled? |  | N/A | N/A |  | N/A | N/A
17 | Include levers at maintenance as specified? |  | N/A | N/A |  | N/A | N/A
18 | Include panic hardware where indicated? (Doors B01, B02, B03, and B16) |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenities - Mirrors
19 | Include mirrors in exercise room as per Note #4, Sheet A1.C.11 - Four (4) 5'-0"x8'-0" installed 12"a.f.f.? |  | N/A | N/A |  | N/A | N/A
20 | Include Clubhouse bath mirrors as per 1/A4.C.1 and 3/A4.C.1? |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenities - Interior Glazing
21 | Include interior wood windows - two (2) Type 24; one (1) Type 25? |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenities - Postal Specialties
22 | Include mail boxes and postal specialties as specified - Salsbury front-loading 4C Model 3716-20 or equal? Refer to A1.K.11 |  | N/A | N/A |  | N/A | N/A
23 | Include mailbox color as anodized aluminum with 'MB1' doors (320), 'OM2' doors (16), Parcel Lockers (32)? |  | N/A | N/A |  | N/A | N/A
24 | Include rent drop box per Note #1 Sheet A1.C.11 - Salsbury Mail Slot #2255 w/#2256 receptacle? |  | N/A | N/A |  | N/A | N/A
25 | Include one (1) recessed trash receptacle at Mail Kiosk as per 3/A1.K.11? |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenities - Fire Protection Specialties
26 | Include fire extinguishers with recessed cabinets in the Clubhouse as per Note #11 on Sheet A1.C.11? |  | N/A | N/A |  | N/A | N/A
Clubhouse/Amenities - Toilet Accessories
27 | Include stainless steel toilet accessories at Clubhouse per note 1.37 on sheet G0.20? |  | N/A | N/A | N/A | N/A | N/A
28 | Include paper towel dispenser as indicated on 1 and 3/A4.C.1? |  | N/A | N/A |  | N/A | N/A
29 | Include grab bars as required? |  | N/A | N/A |  | N/A | N/A
30 | Include changing stations (not shown)?
31 | Include sanitary napkin disposal receptacles (not shown)?
32 | Include soap dispensers (not shown)? |  | N/A | N/A |  | N/A | N/A
33 | Include toilet paper holders (not shown)?
34 | Include paper towel/trash receptacles (not shown)? |  | N/A | N/A |  | N/A | N/A
Installation
1 | Include setting exterior doors? |  |  |  |  | N/A | N/A
2 | Include running all interior trim? |  |  |  |  | N/A | N/A
3 | Include setting attic access doors?
4 | Include setting all interior doors? |  |  |  |  | N/A | N/A
5 | Include installation of all door hardware? |  |  |  |  | N/A | N/A
6 | Include setting of bath mirrors? |  |  |  |  | N/A | N/A
7 | Include installation of all bath accessories? |  |  |  |  | N/A | N/A
8 | Include installation of all closet shelving? |  |  |  |  | N/A | N/A
9 | Include installation of mailboxes? |  |  |  |  | N/A | N/A
10 | Include installation of fire extinguishers? |  |  |  |  | N/A | N/A
Exterior Doors Base Bid
Interior Doors Base Bid
Mouldings Base Bid
Hardware Base Bid
Bath Accessories Base Bid
Mirrors Base Bid
Wire Shelving Base Bid
Fire Extinguishers Base Bid
Attic Access Panels Base Bid
Mailboxes Base Bid
Trim Labor Base Bid
| Total Base Bid | 0 |  |  | 0 |  | 0
Item | Adjustments
1 | Pocket Door for Door Type U09
2
3
| Revised Bid | 0 |  |  | 0 |  | 0
Alternates
1
2
3
1 | Yes
2 | No
3 | N/A
4 | See Adjustment