[image: image1.jpg]


554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

January 11, 2016
July 17, 2018
Merlin DeCorte, PLA

Specialty Pools & Outdoor Living, LLC

1701 Belle Chasse Hwy.

Gretna, Louisiana 70056

Office: (504) 596 - 6343

Cell: (504) 874 - 2198
RE:
Terra Bella Class C Swimming Pool

Covington, Louisiana 
Merlin,

After reviewing the swimming pool concrete compression test by Stratum Engineering, I see in the report that the lowest concrete strength at 28 days was 4,300 psi.  The absolute minimum required by ACI 318-11 is 4,000 psi; therefore, the concrete forming the swimming pool meets the minimum as required by ACI 318-11.

ACI 318-11 specifies concrete that is in contact with water where low permeability is required, swimming pools, is classified as category P1 exposure classification. Table 4.3.1 requirements for concrete with a P1 exposure classification shall have a minimum compressive strength of 4,000 psi.

If you have any questions, or require additional information, please feel free to call.

Sincerely,

[image: image2.png]



David Dammon
Dammon Engineering, Inc.

