554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

December 21, 2015

Mr. George Faustermann

Jefferson Parish Inspections & Code Enforcement

1221 Elmwood Park Blvd.

Jefferson, LA 70123

RE:	Permit Application # 15-343902 ElPaso of Metairie LLC

601 VETERANS BLVD, METAIRIE, LA 70005

Commercial Addition

Dear Mr. Fausterman,

We are in receipt of your letter dated December 17, 2015.  Please accept the following responses to your comments:

1.	Contact Planning Department for determination of level of CPZ review required.

The owner has.  Additional copies of the site plan were requested and the owner 	has 	brought them to planning.

2.	Contractor must show proof of registration for Louisiana General Sales Tax from the 	Louisiana Department of Revenue and Taxation. (225-219-7318)

Contractor shall confirm.

3.	The Design Professional shall include a statement on the drawings to the effect 	that "I 	have researched the building and related codes of Jefferson Parish and the Louisiana 	State Uniform Construction Code and to the best of my knowledge and belief these 	drawings are in compliance therewith."  This can be handled with a letter to this 	effect.

Noted on drawing.  See attached.

4.	Separate permits are required for any new signs.

Owner shall coordinate.

5.	A copy of an executed contract must be provided.  Permit fees may be adjusted 	accordingly.

Owner will supply.

6.	Construction of the outside seating deck will eliminate access to the dumpster

area.

Dumpster area has moved to the West in front of the owner parking area.

7.	I appears that the outside seating deck crosses on to lot 14.  If a lot line is crossed a re-	subdivision will be required.

This abuts lot 14.

If you have any questions, or require any additional information please feel free to call.

Sincerely,

Brian Mistich, P.E.

La. License No. 30187

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033