554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

May 13, 2020

Don Chauvin

City Manager

City of Carencro,

P.O. Drawer 10

Carencro, LA 70520

RE:	Site Plan Review for Parking Layout

El Paso

200 West Gloria Switch Road

Carencro, LA

Mr. Chauvin,

Please find the attached drawings and interpretation of the Code of Ordinances.  These are to be reviewed for the parking layout at the El Paso on West Gloria Switch Road.

Sincerely,

David Dammon

President

Attachments by Dammon Engineering:

Code of Ordinances Analysis

C3.1.0 Parking Striping & ADA Plan, C3.1.5 Sidewalk & Truncated Dome Details, C3.1.6 ADA Accessible Ramps

Attachments by INTCAD :

A4 Floor Plan

Code of Ordinances for the City of Carencro, found on municode.com

The following have been researched and answered:

Sec. 54-73. - Interior landscape islands

Where interior landscape islands are provided, the following minimum standards shall apply:

(1)  Every part of a vehicular use area shall be within 75 feet of the trunk of a tree, with no intervening structures, where islands are a minimum of 162 square feet with a minimum width of nine feet;

(2)  Every part of a vehicular use area shall be within 100 feet of the trunk of a tree, with no intervening structures, where islands are a minimum of 324 square feet with a minimum width of nine feet; or

(3)  For trees of a minimum 18 inches DBH or clusters of trees with a combined minimum DBH of 24 inches, every part of a vehicular use area shall be within 150 feet of the trunk of a tree, with no intervening structures. These islands shall be a minimum of 972 square feet with a minimum width of 27 feet.

A combination of these standards may be used to provide minimum requirements.

Response to Sec. 54-73 : Interior Landscape Islands have been provided and the square footage and width are annotated on sheet C3.1.0.  These landscape islands are sufficient to allow for vehicular parking areas.

Sec. 54-250. - Parking.

(a)  The parking area in front of the building shall not exceed 30 percent of the required parking. The remaining required off-street parking must be placed to the rear or side of the building. All parking areas must be constructed of asphalt or concrete materials.

Response to Sec. 54-250 :  Parking spaces 1 – 22 shown on the sheet C3.1.0 are existing and Grandfathered.  The required parking is 67 spaces therefore 30% is calculated to be 20 spaces.  There are 11 parking spaces directly in front of the building.

Sec. 62-35. - Developments fronting on city streets.

The developer must construct sidewalks either in public street rights-of-way or in a sidewalk easement on the development property.

Response to Sec. 62.35 : Sheet C3.1.0 shows a sidewalk that intersects orthogonally with West Gloria Switch Road.  Sheet C3.1.5 shows the sidewalk cross section to be constructed.

Sec. 66-564. - Off-street parking requirements.

- The following represents the policy of the planning commission in the application of off-street parking requirements. All plats or building sites established in any subdivision plat or any development plan must provide space to accommodate the parking of vehicles outside of any public street right-of-way in conformance with the following schedule. Additionally, with the exception of single-family and duplex residential sites, parking shall be arranged in such manner so as to prevent vehicles from backing out onto a public street. The area of each parking space shall be at least 180 square feet, with a minimum width of nine feet.

(10) Restaurants: One parking space per four seats

Response to Sec. 66-264 :

The minimum width of driving lanes is 24 ft which allows for each parking spot to have a 20ft length stall.  Each parking space is annotated to be a minimum of 9ft in width.

The restaurant has 268 seats shown on the floor plan.  This would require a minimum of 67 parking spaces and 101 spaces.