STATE OF LOUISIANA
Department of Public Safety and Corrections
Office of State Fire Marshal Code Enforcement and Building Safety
8181 Independence Boulevard
Baton Rouge, Louisiana 70806
225-925-4920

H “BUTCH” BROWNING
FIRE MARSHAL

AMENDED LETTER

ROBERT WILTSE
DAMMON ENGINEERING INC
1095 FLORIDA AVE
SLIDELL, LA  70458-0000	RE:  P0399333
MARCO'S PIZZA
4638 LA HWY 22
MANDEVILLE, LA  70448-0000

NFPA 101, 2009 

MERCANTILE CLASS B

Dear Applicant:

This is to advise that the previous review letter dated 06/20/2011 for this project is hereby amended as follows:

1.	Replace item no. 2 (IBC STATEMENT) of original review letter for this project with the following:

	a)  NOTE: Documentation has been received indicating that the services of a Louisiana State Construction Code Council registered third-party provider will be retained in order to provide plan review for compliance with the Louisiana State Construction Code, in accordance with LRS 40:1730.24. Please visit the Louisiana State Uniform Construction Code's web site for rules addressing registration and procedures:  http://www.dps.louisiana.gov/lsuccc/legislation.html 

REVIEW FOR COMPLIANCE WITH THE REQUIREMENTS OF THE LOUISIANA STATE UNIFORM CONSTRUCTION CODE HAS NOT BEEN PERFORMED FOR THIS PROJECT BY THIS OFFICE.

PROVIDE A DUPLICATE SET OF PLANS AND SPECIFICATIONS TO THE THIRD-PARTY FOR REVIEW AND/OR PERMITTING, THE STATE FIRE MARSHAL REVIEWED AND STAMPED DOCUMENTS SHALL NOT BE USED FOR THIS PURPOSE.  ADDITIONAL MARKING OR ALTERATIONS MADE TO THE APPROVED STAMPED PLANS MAY CAUSE DELAYS IN FINAL ACCEPTANCE FOR OCCUPANCY. 

2.	NOTE: The rest of the original review letter for this project shall remain applicable.  Please enclose a copy of this letter with future submittals or other correspondence pertaining to this project. 

This review applies to the work indicated on the drawings or specifications.

This review shall in no way permit or authorize any omissions or deviations from the specific requirements of the adopted codes, rules and regulations in accordance with R.S. 40:1574.1(B).

The above amended review is valid if construction starts within 180 days from the above date of the original review letter.

Occupancy of the project will not be permitted until we receive the completed certificate and a satisfactory inspection of the completed construction has been made by this office.

To arrange for inspection of the project, please contact the District Office at the phone number below, two (2) to three (3) weeks in advance. Approved plans must be available on job site at time of inspection. Certificate of completion must be provided to inspecting Deputy for final inspection.

REVIEWED BY:
PATRICK FLORY
ARCHITECT

CC:
Mjc Investment Llc
Partner's Pizza #1  Llc
Christopher Brown*
New Orleans District*     5045688506