ADDENDUM NO. 1

13 December 2011

Marco’s Pizza

9212 West Judge Perez Dr.

Chalmette, LA

- Coversheet; Changed Sheet A-3 title from “Finished and Ceiling Plan” to “Finish and Ceiling Plan”.

- Sheet A-1;

- Added Note: “No exterior work expect for sign on Sheet E-2 and utilities”

- Added 130 MPH wind requirement to window schedule.

- Revised Door and Door Hardware schedules.

- Labeled “Wall Schedule” legend”

- Sheet A-2; Added 2 fire extinguishers, and differentiated Type “B” and type “K”.

- Sheet A-3; Revised Room Finish Specifications notes #2 and #3, and revised “Stone Veneer Section”

- Sheet M-1; Added HVAC key notes #13 and #14 as needed.

- Sheet E-1; Revised Ansul. System note to read “Install ansul. System (w/ pull station) tight to roof deck”

- Sheet E-2; Added Electrical Load Summary

- Sheet P-1;

- Added grease trap detail

- Revised Plumbing fixture schedule water heater description.

- Added spec for toilet room grab bars to restroom elevations.

- Added note to indicate deck and water heater above mop sink.