Papa John’s Pizza

3013 Pontchartrain Drive

Slidell, Louisiana

Addendum #2

Date:	September 15, 2011

To:	All holders of plans and specifications (Bid Documents) for referenced project

Ladies and Gentlemen:

Following are questions that have been submitted to date for the referenced project, followed by clarifications hereby made to the contract documents:

Project Plan Questions:

Q1.  Sheet A-3 under the Exterior Roof Notes states we are to make repairs listed in the pre-buy facility report.  However, It does not appear this was included with the contract documents.  Please provide.

Please find the pre-buy facility report attached to this addendum.

Q2.  The floor schedule lists ceramic tile and VCT.  However, it does not appear a room finish schedule was provided which states where each item is to be installed.  Please clarify where each finish is to be installed.  There is a note that says see handout for room finishes? We have only received the plans and 1 addendum to date.  Are there any specifications we are missing?

Actually the “Finish Schedule” states “CERAMIC TILE”  “OR”  “VCT”.  This store will be using ceramic tile through-out the store.

Q3.  I cannot find where a contract duration has been specified.  Please clarify.

Is there a specific bid form?

Q3.  Will temporary utilities be paid for by the owner?

Q4.  A-1 shows a metal platform that we are to build/install.  However, this is not shown on the interior elevation 12/A-3.  Please clarify the intent of the platform.

The platform that holds the Air Handling Unit is mainly there to provide a proper drop in elevation for the condensation line.  If you review the plumbing page you will see that I did not have the floor cut entirely to the edge of the wall.  This would require the plumbing to be installed in the wall with the proper drop in elevation.

Q5.  A-1 also states were to build a metal platform for all mechanical equipment outside.  However, all existing platforms are wood.  Please clarify if wood will be acceptable.

Q6.  It appears there is an existing air handler in the space per our walkthrough.  The plans do not indicate we are to reuse this unit.  Please clarify.

The existing Air Handling Unit is currently gas heat.  This unit cannot be re-used in the horizontal position; therefore it will not be reused.  The exterior 5 ton unit is in-operative and, as I understand, requires a new compressor.  The compressor may be under warranty but the labor is not.  If it is less expensive for the mechanical contractor to replace the compressor and provide a warranty on the entire unit then this would be the most appropriate method to take; otherwise install a new unit.

Q7.  Please clarify what is shown on elevator 12/A-3 on the far left.  Three menu’s?? Just want to make sure this isn’t anything I am supposed to supply or install.

These 3 items shown on the elevation are Papa John’s banners.  Please find attached the information from Papa John’s.

Sincerely,

David Dammon, VP

Dammon Engineering, Inc.