STATE OF LOUISIANA
Department of Public Safety and Corrections
Office of State Fire Marshal Code Enforcement and Building Safety
8181 Independence Boulevard
Baton Rouge, Louisiana 70806
225-925-4920

V. J. BELLA
STATE FIRE MARSHAL

I N F O R M A T I O N  R E Q U E S T
N O T   -   F O R   -   P E R M I T T I N G

EMMETT DAMMON
DAMMON ENGINEERING
1095 FLORIDA AVE
SLIDELL, LA  70458-0000	RE:  P0282271
QUIZNOS  SUB  SHOP #7362
4401 AIRLINE DR
METAIRIE, LA  70001-0000

NFPA 101, 2003

ASSEMBLY 300 OCCUPANTS OR LESS

Dear Applicant:

Additional information is required to perform a proper review.  The project referenced above is being held pending submission of the following information:

1.	RS 40:1574  Additional drawings and/or specifications are required:

	a)  Site plan drawn to scale showing entire project, distances to nearby buildings, fences, parking, finished floor elevations with respect to grade, handicapped access and hazardous features such as fuel storage or incinerators. 
	
2.	NOTE: Please enclose a copy of this letter with future submittals or other correspondence pertaining to this project. 

Due to the lack of information, the referenced project has NOT been reviewed.  Please direct the requested information to my attention.  Processing will continue upon receipt of the information requested above.  Enclose a copy of this letter with future submittals and/or other correspondence pertaining to this project.

This project will be returned as "NOT IN COMPLIANCE" if the requested information is not received by this office within 21 days of the date of this letter, thereby requiring a RESUBMITTAL of the entire project along with a new completed application and appropriate review fee.

If a sprinkler system construction release (Go-To-Work-Request) was granted prior to formal review, the release is hereby rescinded until such time that a formal review of plans has been conducted and a plan review letter is issued that will release the project for construction.

CONSTRUCTION IS NOT AUTHORIZED until a satisfactory review has been performed and a formal review letter has been issued by this office.

REVIEWED BY:
JOHN LAUDUN
ARCHITECT

CC:
Quiznos
Jefferson Parish Fire Prevention
Sam Vanover*
New Orleans District*     5045685500