Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

April 19, 2005

Mr. Kenneth Robichaux

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA 70806

RE:  
PO287945

Dear Mr. Robichaux,

With regard to the above referenced project, the owner is requesting to use the existing restrooms without any modifications.  In our original drawings we had the Men’s restroom wall extended 12 inches next to the door to meet ADA requirements.  This change has been determined to be cost prohibitive.  The Men’s restroom still has the required 5 foot turning radius and the Women’s restroom is fully ADA compliant.  The restrooms were originally designed in 1984 to be used in a restaurant for Taco Bell.  The new owner, Quiznos, is also a restaurant therefore not changing the occupancy.

If you have any questions, please feel free to call.

Sincerely,

David Dammon

Project Manager

