Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

April 5, 2005

City of Slidell

Commercial Plan Review

2056-A Second St.

Slidell, LA 70458

RE:  
Permit No: 05-387


Location : 188 Guase Blvd. West


Tenant Build out – Quiznos #8336

Sir, 

The existing columns supporting a 14” I-Beam are going to be relocated from their present position outward to the edge of the beam.  Dammon Engineering has calculated the Section Modulus and the exiting 14” I-Beam is sufficient to handle the load with the columns relocated as per attachment.

Sincerely,

David Dammon

Project Manager

cc:  Mr. Su Nguyen

