Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

May 10, 2006

Mr. Chris Ramsey

Building Official

Community Development Depart

PO Box 217

304 Highway 51

Ridgeland, MS 39158

(601) 856-3877

RE:  
Quiznos 10275


Location E. County Line Rd.


Ridgeland MS 39157

Dear Mr. Ramsey,

The following are responses to the letter dated April 4, 2006:

1. Provide Plans approval letter from Madison County Health Department.  A copy of the Health Department approval letter is attached.

2.  Provide details for 2-hr fire rated tenant separation wall.  A revised drawing with fire rating detail was attached to my previous letter.

Sincerely,

David Dammon

Project Manager

