QUESTIONAIRE FOR QUIZNOS BUILDOUT

Please reply to following information via email at pearlbot@msn.com .

Does this property have a physical address?  Which suite is Quiznos going into?

103 South Frontage Road, Suite 208 - Meridian, MS  39301
Is the building sprinkled?

yes

How much A/C is being provided for tenant if any?
350 SF per ton.
If A/C is being provided will you be using roof top or split system? RTU
Can we penetrate the roof with hood vent?
We would need to review the detail
Will 3 phase 208 Volt electrical service be provided to unit?  yes

Will conduit from the service to the suite be provided? yes

Will an electrical panel be provided for tenant?
yes
Will all demising walls be in place?
Yes. All walls are 6” metal studs.
If not can we increase to a 6” wall for plumbing?



Is gas available?

yes
Is water and sewerage provided by city? 
Water  yes


Sewerage  yes

If not what is the permit number for the septic and water system?

Is there an existing grease trap?  no

If so what is the size?

If not where is the best place to put one? I’m not sure at this point in time.
Is there a Dumpster Pad?  yes


If not where is the location we can put one?
Will there be hot and cold water to Dumpster Pad?
Not at this time.

Is there any other particular information about this site that is not covered above that might cause issues with a fast food restaurant?  Not that I am aware of.
Please provide the following CAD drawings for new center:

Site, Electrical, Plumbing, Floor Plan, Mechanical and Elevations 

If you have any contact names or numbers for city or parish officials we may need to contact in the permitting process please list those also.  If you have any questions feel free to call me at 504-615-8203.

Thanks,

Theresa Pierson

Dammon Engineering

