QUESTIONAIRE FOR QUIZNOS BUILDOUT

Please provide the following information to help expedite preparation of our proposal for architectural services to david.dammon@charter.net.:

Store Number:   13522
Proposed Opening Date: 

Store Address:  King Travel Plaza

1119 Lowe Grout Road,

Iowa, LA 70647

Square Footage: 
Municipality’s Agencies to include Municipal Water Supplier and Wastewater Provider:

Owner’s Name:  Rob King
Owner’s Contact Numbers:

Home/Office  : 

Cell   :  (337) 540.3947
Fax    :

Owner’s Email Address:   ROBK201@aol.com

How much A/C is being provided for the store if any?

Is this site required to use roof top or split system HVAC?   Rooftop
Can we penetrate the roof with vent?

Yes
Will 3 phase 208 Volt electrical service be provided to unit?  Yes
Will conduit from the service to the suite be provided?
Yes
Will an electrical panel be provided for space?

Yes but a second may be needed

Are all demising walls in place?  Will there need to be a roll-down overhead security closure?
Demising walls Yes; no roll-down security

Is water and sewerage provided by city? If not what is the permit number for the septic and water system?
Iowa City
Is there an existing grease trap?  If so, what is the capacity?  If not where is the best place to put one?

Existing Grease Trap 1500 gallon

Is there a dumpster pad with hot and cold water?  YES

Is there any other particular information about this site that is not covered above that might cause issues with a fast food restaurant? 


Please provide the following CAD drawings for the building with a site plan, electrical, plumbing, floor plan, mechanical and elevations 

If you have any contact names or numbers for city or parish officials we may need to contact in the permitting process please list those also.  If you have any questions feel free to call me at 985-649-5832.

Thanks,

David Dammon

Dammon Engineering

