Electrical:  120/208V Three Phase 225 Amp Service

HVAC:  LL will provide 4 tons 1,600 cfm

Add 1 ea 7.5 ton 3,000 cfm   

Fresh air is 800 cfm

Above Ground Interceptor / In ground Grease Trap: Above Ground

MUST HAVE dumpster drain and Hot and Cold Water near dumpster.

Comments:

Nothing can sit on the roof all compressors on sidewalk in rear or elevated above 7’

