Electrical:  120/240V Single Phase 250 Amps

HVAC:  12 Tons Required  

Fresh air is 520 cfm

In ground Grease Trap required

Hot and Cold Water at dumpster pad.

