The University of Southern Mississippi

The Village Project

Access Control

Building A & B


Door 101A – Porch from Foyer 101 – ADA door



MAG Stripe Card Reader (LHR side of door)



Push Button (by others) (LHR side of door)



Power Door Operator (by others)



Electric Strike 



Door Position Switch (both doors)


Door 101B – Foyer 101 from Multi-Purpose 107



To Be Announced


Door 107A – Porch from Multi-Purpose 107


Door 107B - Porch from Multi-Purpose 107


Door 107C - Porch from Multi-Purpose 107


Door 108A – Multi-Purpose 107 to Kitchen 108



1 per door – Door Position Switch


Door 112A – Foyer 101 from Corr. 112


Door 112B – Porch from Corr. 112


Door 141A – Back Porch from Stair 141


Door 141B – Stair 141 from Corr. 112


Door 201 – Stair 201 from Corr. 203


Door 239 – Stair 239 from Corr. 203



MAG Stripe Card Reader



Electric Strike



Door Position Switch

The University of Southern Mississippi

The Village Project

Access Control

Building C


Door 101A – Front Porch from Foyer 101



Door Position Switch


Door 101B - Front Porch from Foyer 101 – ADA door



MAG Stripe Card Reader (LHR side of door)



Push Button (by others) (LHR side of door)



Power Door Operator (by others)



Electric Strike 



Door Position Switch (both doors)


Door 104A – Corr 103 from Corr 104


Door 120 – Corr 104 from Stair 120


Door 104B – Ext Stairs from Corr 104


Door 104C – Side Ext from Corr 104


Door 105A – Corr 104 from Stair 105


Door 133A – Foyer 101 to Visitor Bedroom 133


Door 201A – Corr 201 from Stair 102


Door 201B – Corr 201 from Stair 105


Door 201C – Corr 201 from Stair 120



MAG Stripe Card Reader



Electric Strike



Door Position Switch


Door 105B – Ext Stair from Stair 105



Door Position Switch

The University of Southern Mississippi

The Village Project

Access Control

Building D


Door 101A – Ext from Foyer 101 – ADA door


Door 134A – Ext from Foyer 134 – ADA door



MAG Stripe Card Reader 



Push Button (by others) 



Power Door Operator (by others)



Electric Strike 



Door Position Switch 


Door 101B – Foyer 101 from Multi-Purpose 132

Door 108A – Vestibule 108 from Multi-Purpose 132

Door 108B – Back Walkway from Vestibule 108

Door 134B – Foyer 134 from Multi-Purpose 166

Door 141A – Vestibule 141 from Multi-Purpose 166

Door 141B – Back Walkway from Vestibule 141



MAG Stripe Card Reader



Electric Strike



Door Position Switch

