November 29, 2001

Mr. Robert Hurley

Brice Building Company, Inc.

3516 Hessmer Ave.

Metairie, Louisiana 70002

RE:
Project 06268/Camellia Gardens

Dear Robert,

The following are answers to your Requests for Information Nos. 1-3, dated

November, 28, 2001.

RFI No. 1

Q1.
What are the window and door marks in the Library in building #1?

A. Windows are “B” and doors are “8”

Q2.
Provide details for the planter in the Activity Room of building #1.

A.
24” high x 24” wide x 11’ long brick planter.  Seal brick and use a pond liner.

Q3.
Provide door mark for the door to Ass. Living Dining on Sheet A-9.

A.
9

Q4.
Provide marks for windows in rooms 215, 216, & 225 on sheet A-10.

A.
“A”

Q5.
Provide marks for doors in kitchen on A-6.

A.
1

Q6.
What is the criteria for the number of king studs, cripples and sills at window openings?

A.
Opening over 3’ with 2 kings, 2 cripples, 2 sills, opening under 3’ with 1 king, 1 cripple, 2 sills.

Q7.
What size should the headers be in load bearing walls?

A.
2x12

Q8.
What size should the headers be in non-bearing walls?

A.
2x12

Q9.
Does F-7 show second floor framing for building #6?

A.
Yes.

RFI No. 2

Q:
What are the actual dimensions of the walk-in cooler and walk-in freezer?  Sheet K-1 says that they are 8’x16’.  The space shown on sheet will not accommodate this size.  Is the cooler one unit?  If so, is the wall shown between the cooler and freezer needed?

A:
Exterior Size for Cooler & Freezer:


6’-6¼” Width


6’-3¾” Depth


8’-2¼” Height

RFI No. 3

Q1.
Type “A” windows are shown in fire rated walls. (Example – Rooms 101 & 102 on A-3).  Is this the intent?

A.
Yes.

Q2.
Type “D” windows (hollow metal) are shown in exterior walls.  (Example – Room 111 on A-3)  Is this the intent?

A.
Yes.

Q3.
Windows in the breezeway change type from sheet to sheet.  (Example – Building #1 to Building #2, Sheet A-2 & A-3).  Which type is correct?

A.
“B”.  Buildings #1, 2, & 6, including breezeways, shall all have “B” type windows except where “D” type windows are noted on the first floor by the stairs.  Code requires that all windows on first floor to have total glass area of not less than 5 square feet and second floor not less than 5.7 square feet.

Q4.
The window marks in plan do not correspond with the windows in elevation.  Please clarify.

A.
Do not scale drawings.  Use the sizes shown on sheet E-11.

Q5.
Some of the windows in elevation look to be 4 feet wide.  Neither the “A” or “B” windows on the schedule is 4 feet.  Please confirm the 3-foot width.

A.
Do not scale drawings.  Use the sizes shown on sheet E-11.

Q6.
What is the divided light arrangement for the windows?  On the elevations, some windows show divided lights and some show 1/1.  The schedule does not address this.

A. On 5’ windows 5/5, on 6’ windows 6/6 and accordingly.

Additional Information:

1.
Use expansion joints between buildings.

2.
The owners will supply potable water for the irrigation system.  They are installing a well on their private property at the rear of the site.

If you have any questions, or require further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

