Architects Statement of Code Analysis


Design of the Camellia Gardens project was accomplished to meet all local and state code requirements and is consonance with the model energy code.

1. 
Accessible route.

2. All public and common use areas are accessible to and usable by people with disabilities.  This includes recreation facilities where wheelchair users may use the facility.

3. All pass thru door ways have been designed to meet ADA guidelines.

4. Accessible routes leading into and through units meet ADA guidelines.

5. Light switches, thermostatic controls, etc are designed to be accessible to handicap persons.

6. Grab bars in toilets & baths are designed to withstand impact by providing wood blocking behind the unit.

7. Kitchen and baths in handicap units are designed to meet ADA standards.

