August 14, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens / Bldg. #1

Smoke Evacuation System

Dear Bobby,

I spoke to Mr. Dean Born with the City of Slidell. He has agreed with me that building #1 is not an atrium. Therefore, we do not need a smoke evacuation system. Attached is the fax he sent to me.

Please call me with any question you may have.

Chuck Dammon

Vice President & Project Manager

