February 19, 2002

Mrs. Cynthia Obier

Office of State Fire Marshal

Code Enforcement and Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens/P0220398

Dear Mrs. Obier

I would like to get approval for a change in the method of obtaining fire ratings in the buildings for the above referenced project.  We originally designed for our tenant separation to have 5/8” gypsum board on both sides of each tenant separation wall, from the floor to the roof. 

We now would like to use instead, 5/8” gypsum board on both sides of the wall to the ceiling, and two layers of 5/8” sheet rock on the ceiling which complies with the Gypsum Association Fire Test FMFC 172, 2-25-72:GA File No. RC2601.  Each building’s attic will have draft stops at 3,000 square feet or less.

This would take place in the single story buildings and the second floors of the two story buildings.

We spoke with the local fire inspector and he said that he approved of this change, but asked that we write you a letter for your approval.  We would appreciate your approval in this matter.  Please indicate your acceptance by signing below.

Please call me with any questions that you may have.

Accepted:
_____________________________

___________________




Cynthia Obier




Date

Sincerely,

Chuck Dammon

VP/Project Manager

