April 10, 2002

Mrs. Cynthia Obier

Office of State Fire Marshal

Code Enforcement and Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens/P0233508

Dear Mrs. Obier,

Per our telephone conversation on April 9, 2002, we are asking for an appeal on the fire rated windows for the above referenced project.

Building #5 was originally designed for fire rated windows in the corridors, between the corridor and all living units, and between the corridor and the exercise room and dining room.  The owner would like to delete the rated windows in the corridors and have wood frame windows between the corridor and the exercise room and dining room.  We will install sprinklers over these windows.  In addition, all corridors are sprinkled.  Attached is a partial sketch of that area showing the exercise room and dining room.

Please call me with any questions that you may have.

Sincerely,

Chuck Dammon

VP/Project Manager

Attachment:
Partial Sketch

CKD:clh

