February 28,2002

Mr. Floyd Carwile

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens/P0233508

Dear Mr. Carwile,

I have received your letter dated Feb 13, 2002. 

I called and spoke to the manufacturer of Miracle Vent and asked them to recalculate the area in Building #5, making sure that it would protect the sprinklers in the covered porch area.  He assured me it would. He has sent me a letter dated Feb 18, 2002, indicating that the original calculations do cover this area.

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

