July 18, 2000

Greg Racca

Brice Building Company

RE;
Camellia Gardens

Greg;

  I have just reconfirmed that carrier does sell the wall type A/C units we show in the wall of the apartments.  They are eleven inches thick.  They also sell the units that suspend from the ceiling and connect to the duct.  We have changed the drawings to reflect.

1. The apartment units will be in the bathroom.  We propose on these that it would be cost efficient to run the duct in the space between the trusses and add Fire dampers at penetrations, where applicable.

2. On the second floor and in the one-story buildings running duct in the attic is no problem, and will not require fire dampers.  The A/C units in the corner areas of the entrance building will remain as they are shown on drawings presently.  There is no need to provide separate zoning as proposed at the meeting of yesterday.  Ron Agrees.

Sincerely,

Emmett G (Pete) Dammon P.E.,

EGD/plc

