June 5, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens / Bldg. #5

Kitchen Exhaust Hood

Dear Bobby,

After receiving your phone call concerning the kitchen exhaust hood assembly rating in Building #5, I called Chris Kaufmann, the local Fire Marshal.  He said since we have a non-rated ceiling in that building we can use the fire blanket as installed.

I also called Kirk Pichon with the City Of Slidell (Plumbing Inspector) to confirm this information.  He concurred with the Fire Marshal’s response.  He also commended their installation process.

Please call me with any questions you may have.

Sincerely,

Chuck Dammon

Vice President & Project Manager

