November 14, 2001

Bob Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

RE:
Camellia Gardens

Job No. 06268

Dear Bob,

The following are answers to your questions from your letter dated 11/07/01.

1. I’m providing for you a copy of the product data for the kitchen area. 

2.
I have redesigned the stairway doors for Bldg. #1 first floor and second floor.  I’m sending you an 8½ x 11 sheet of that area for you to see the change.
3. 
I talked to the Fire Marshal, we are okay with the original design for the outside stairs.  See note #17 from the Fire Marshal’s letter dated June 1, 2001, page #4.  It is okay to use the detail you provided me on the Typical Stringer to Platform Connection for the exterior stairs.

4.
I have dimensioned the plans for the Courtyard for you to use in the field.

5.
I have talked with Ron Duhe and we will work up a detail on the Receptionist/Secretary area.

6.
I spoke to the local Fire Marshal and it was decided that Fire Extinguishers are to be placed per the drawing layout that I am providing you and to follow their guidelines as stated on the drawing.
7.
I received the changes from Steve Saunders on Bldg.#3 and am providing a copy for you to review.

8.
I also asked the Fire Marshal if there is a need for Class A material to be used in the bathrooms and he stated that he didn’t have any requirements.

Sincerely,

Chuck Dammon

Vice President & Project Manager

