PREAPPROVED MANUFACTURES

1. Windows – 

Series 300 H-R Windows

       

Aluminum Single hung

        

General Aluminum 

Division of POJTAEEIC Companies

        

Dallas, Texas

2.
Finish Hardware- 
National Door & Hardware, Inc.





623 Central Ave





Jefferson, LA

3.
Wardrobe Doors-
Curries Mirror Wardrobe Doors

                                                     Series 2500 St

4.
Elevator-

Dover, HLSS Series





for low-rise bldg.

5.
Fireplace-

Martin Manufacturer, Super Box





11” double wall





Custom builder series

6.
Carpet-

26 oz Aladin Bridgeport II





@ $8.00/yd.

7.
Ceramic Tile-

Natura Liberty





New Skid 8” x 8” Florida Tile

8.
Glass-


A-1 Glass, Inc.





Parish Glass

9.
Insulation-

John Mansville





R-11 Class A





R-11 Sound Alternation





R-19 Ceilings





6” Between Floors

10.
Roofing-

GA F Royal Sovereign 25 year

11.
GYPSUM Subfloor-
Maxxon GYP-Crete 2000

12.
Stairs-


Metfab Inc.

13.
Column covers-
PlasterGlass

14.
Plumbing-

Sewer Risers to be cast No-Hub
