May 6, 2002

Bob Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens

Job No. 06268

Dear Bob,

I have spoken to the Fire Marshal about Building #1 Sprinklers. He said it is an accepted practice not to sprinkle between the first floor and the second floor if exception #4 of the NFPA book is followed.

If you have any questions, please call me.

Sincerely,

Chuck Dammon

Vice President & Project Manager

