SECTION 01010

SUMMARY OF WORK

1 PART 1 GENERAL

1.1 SECTION INCLUDES

A. Work by Owner

B. Work by Contractor

  C.
Contractor use of site and premises

D.  Future work
E.  Work Sequence
F.  Owner occupancy
1.2 WORK BY OWNER

A. Owner may contract with others to accomplish other 

work on premises during the course of this contract.  Contractor shall coordinate his work to allow others work in progress.

B. Items notes ‘NIC’ (Not in Contract), will be furnished 

and installed by owner after date of substantial completion.

1.3 WORK BY CONTRACTOR

A. The Contractor shall accomplish all work shown on the 

project drawings and in these specifications.

1.4 CONTRACTOR USE OF SITE AND PRMISES

A. Construction Operations:  Limited to areas noted on 

drawings.

B. Utility Outrages and Shutdown:  Must be prearranged 24 

hours in advance.  Temporary means to serve any areas in use, 

1.5 OWNER OCCUPANCY

A. The owner intends to occupy the entire portion of the 

Project upon completion of work.

2 PART 2 PRODUCTS

Not Used

3 PART 3 EXECUTION

Not Used





END OF SECTION
PAGE  
2

