January 30, 2002

Fire District No.1

St. Tammany Parish

544 Old Spanish Trail

Slidell, LA. 70458

Attn: Chris A. Kaufmann

Re: Camellia Gardens/P0220398

Dear Mr. Kaufmann

We would like to get pre-approval of a new Fire Resistance Rating for ceilings that just came out as of January 16, 2002– ANSI/UL 263, Design No. P533.  We would like to use this in lieu of two layers of sheetrock on the ceiling to get our 1-hour rating.  Please see the attached cut sheets for this rating.

Please indicate your acceptance of the above by signing below and faxing back at your earliest convenience.

I appreciate your help with this matter.  If you have any questions, please feel free to call.

Accepted: _______________________                       _____________

                        Chris Kaufmann                                              Date

Thank you,

Chuck Dammon

VP/Project Manager

