June 14, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens

Job No. 06268

Dear Bobby,

Kirt Laborde asked me to visit the job site today concerning Bldg. #1 Fire Walls. We have determined that the Fire Walls on the second floor shall be extended tight to the Porta Cochere roof and Bldg.#1 roof. Please see the attached plan.

Also there won’t be a need for the Fire Sprinkler system above the Porta Cochere to have antifreeze in the system. The owner of Miracle Vent has confirmed that the Vent we are installing in that area will suffice. He will send me a letter on this matter.

If you have any questions please call me.

Sincerely,

Chuck Dammon

Vice President & Project Manager

