June 17, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens

Job No. 06268

Reference: Bldg.#1 Attic Sprinklers

Dear Bobby,

I have received the calculations from Miracle Vent pertaining to Bldg.#1.  According to their review of the sprinkler system in the attic of bldg.#1 and the Porta Cochere attic, the vent locations and amount will be adequate for this installation. Please see the attachment from Miracle Vent.

If you have any questions please call me.

Chuck Dammon

Vice President & Project Manager

