January 14, 2002

Chris A. Kaufmann

Fire District No.1

St. Tammany Parish
544 Old Spanish Trail

Slidell, Louisiana  70458

Re:
Camellia Gardens

P0220398

Dear Mr. Kaufmann,

We would like to get Pre-approval of the vanities to be installed in the bathrooms and kitchens for the above referenced project.  Attached please find cut sheets showing the vanities we would like to use.

Also, the State Fire Marshal (Cynthia Obier) recommended a thirty-inch (30”) wide knee space at the kitchen sink (this will be done), and a thirty-inch (30”) wide workspace in this kitchen arrangement.  The owner would like to omit the thirty-inch wide workspace in the kitchen due to the limited space in that area; also, it is not a full working kitchen.  No cooking will be permitted, as there is no stove or dishwasher in the rooms.  Please see the kitchen layout provided.

We would appreciate your expediting this approval so the contractor can order the cabinets. Please call me with any questions or concerns.

Thank you,

Chuck Dammon
VP/Project Manager

