January 31, 2003

Mr. Anthony Emukah/Chief Plan Examiner

City of New Orleans

1300 Perdido Street

City Hall, Room 7E06

New Orleans, Louisiana  70112

RE:
Permit No: B-02005190


3168 St. Claude Ave.


Captain Sal’s Restaurant

Dear Mr. Anthony,

In response to your letter dated January 28, 2003, please note the following:

ARCHITECTURAL:

1. All curbs and driveways shall be approved by the Dept. of Public Works.

A. The Drawings have been reviewed and approved by the Dept. of Public Works.

2. Provide seating arrangement.

A. The seating arrangement is shown on Drawing “A-1”.  The dining area will have tables for only twenty people.  However, the area of dining room leaving 3’ of space in front of the counter is approximately 14’x45’ which is 630 Sq. Ft.  This would mean it would accommodate 42 people. There are two exits provided for this Dining Room.

3. Walk-in coolers shall comply with Section 2603.3 SBC, please verify.

A. Walk-in coolers will comply with Section 2603.3 SBC.

4. Canopies on exterior wall shall comply with section 3106 SBC. Please Verify.

A. The canopy on the front exterior will comply with section 3106 SBC.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

