Addendum #2

Construct Parish Barn

February 22, 2001

To:
All Holders of Project Plans

RE:
Fritchie Barn

A. The bid date is hereby changed to Monday, March 5th; time and location remain unchanged.

B. The following changes are made to the contract drawings.

1. Specifications,

a. Section 01010, Summary of Work

(This ammends addendum #1)

“Driveways are not in this contract”

C. Ammend addendum #1, item #E (painting of frame) “frame of building shall have shop coat of primer.  Exposed columns below 18 FT shall have two coats of Benjamin Moore Enamel, color choice by owner.

Acknowledge receipt of addendum(s) in quote to Parish.

Acknowledge receipt of addendum(s) to Dammon Engineering, Inc., 641-5950.

Sincerely,

Emmett G (Pete) Dammon, P.E.

EGD/clh

